## Slide 1: Pulse oximeter

## Slide 2: Pulse oximeter

## Slide 3: Pulse oximeter
Original patent

## Slide 4: Your data
Big deep breaths
and then hold
Damn, I want some air
Gave up

## Slide 5: Photodiode detection
Photodiode: Current is proportional to amount of light hitting the detector

## Slide 6: Detection demo

## Slide 7: We will do something else…

## Slide 8: Hysteretic oscillator

## Slide 9: Hysteretic oscillator

## Slide 10: LED Driver
2.5 V

## Slide 11: Background

## Slide 12: Background + red
Detector sees the sum of the two curves

## Slide 13: Background + red + ir
Detector sees the sum of the three curves

## Slide 14: Convert driving signal to +/- 1

## Slide 15: Multiply +/- 1 and detector
Blue – bg only
Red – bg + red LED
Black - bg +red + ir
Driving * Detector

## Slide 16: Integrate w.r.t time - background
(t)) dt

## Slide 17: Integrate w.r.t time - bg +red

## Slide 18: Integrate w.r.t time - bg +red+ir

## Slide 19: Converges to average difference between red and ir
We will keep the running integral by using a low-pass filter

## Slide 20: Low-passed result

## Slide 21: How do we implement a low pass filter in software?